Ureidosalicylic acid + acetone. 25 dC

Peak	Freq/ppm	Amplitude	D/(10e-10 m2/s)+/-std.err.

1	  8.0624          85.2251        15.6738   +/-   0.109722

2	  7.5929          56.6984        15.6625   +/-   0.108177

3	  7.5798          58.1616        15.7180   +/-   0.113323

4	  6.8420          71.2459        15.3785   +/-   0.090054

5	  6.8274          69.2904        15.7288   +/-   0.130080

6	  2.0412        1775.8225        41.6428   +/-   0.256396

Values used:

Ureidosalicylic: 7.59 ppm 15.7 +- 0.1

Acetone: 41.6 +- 0.3

Ureidosalicylic acid + o-xylene +  acetone. 25 dC

Peak	Freq/ppm	Amplitude	D/(10e-10 m2/s)+/-std.err.

--------------------------------------------------------------------

Ureidosalicylic acid

1	  8.0633          60.4728        15.7993   +/-   0.148750

2	  8.0602          59.4233        15.6361   +/-   0.059912

3	  7.5962          37.3326        15.6920   +/-   0.099713

4	  7.5926          37.2811        15.5936   +/-   0.144075

5	  7.5814          39.4736        15.6637   +/-   0.106527

6	  7.5781          37.1553        15.5747   +/-   0.086806

o-xylene

7	  7.0947          18.1275        31.9981   +/-   0.188103

8	  7.0885          17.5245        32.1051   +/-   0.218884

9	  7.0488          18.6458        31.8152   +/-   0.203761

10	  7.0431          17.6474        31.5584   +/-   0.248038

11	  7.0350          11.9796        31.3811   +/-   0.341017

Ureidosalicylic acid

12	  6.8420          57.5473        15.4544   +/-   0.096906

13	  6.8273          56.4394        15.8903   +/-   0.142689

o-xylene

14	  2.2187         169.0928        32.2325   +/-   0.247529

acetone

15	  2.1444          10.8508        41.7534   +/-   1.372637

16	  2.0745          86.2919        41.9928   +/-   0.513046

17	  2.0412        1368.2621        41.6717   +/-   0.271833

Values used:

Ureido salicylic:    2	  8.062          59.4         15.64   +/-   0.06

o-xylene: 	  7	  7.0947          18.1         32.0   +/-   0.2

acetone: 	  17	  2.0412        1368.3        41.7  +/-   0.3

Viscosity (acetone-d6) at 25 dC:  0.000326 Pa. Source: Attached paper (1996_Experimental study of dynamic isotope effects in molecular liquids...)

Density (acetone-d6) at 25 dC: 0.872 g/mL Source: http://www.sigmaaldrich.com/catalog/product/aldrich/444855?lang=en&region=GB

Mw Acetone-d6: 64.12 g/mol

Acetone-d6 diffusion coefficient at 25 dC reported in “1996_Experimental study of dynamic isotope effects in molecular liquids …”:  41.5 10-10 m2s-1. Our estimation: 41.7  +/- 0.3 m2s-1

Pulse sequence: convection compensated DBPPSTE (Bipolar gradient pulses stimulated echo sequence).  J. Magn. Reson. Ser. A, 115, 260-264 (1995) and  J. Magn. Reson. 125, 372-375 (1997).

D acetone: 41.4-42.0 m2s-1

Mw acetone-d6:  64.1 g/mol , MW acetone-d4: 62.1 g/mol

Mw acetone (DOSY-estimated): 55.5 – 57 g/mol

Mw o-xylene: 106 g/mol

Mw o-xylene (estimated): 91.0 – 93.2 g/mol

D o-xylene: 32.0   +/-   0.2 m2s-1 : 31.8-32.2 m2s-1

Mw ureidosalicylic acid – monomer-dimer-trimer: 196.2 – 392.4 -588.6 g/mol

Mw ureidosalicylic acid (estimated using DOSY): 385.4 – 391.8 g/mol

Mw ureidosalicylic acid (estimated using ESI-MS): 393 g/mol

D ureidosalicylic acid: 15.64   +/-   0.06: 15.58 - 15.70