## Technical
Multi-criteria decision-making and uncertainty analyses of off-grid hybrid renewable energy systems for an island community
Dibyendu Roya, *, Hadi Taghavifara, Kumar Vijayalakshmi Shivaprasada,
Yaodong Wang,a, Barun K. Dasb, Anthony Paul Roskillya
aDepartment of Engineering, Durham University, Durham, DH1 3LE, UK
bSchool of Engineering, Edith Cowan University, Joondalup 6027, WA, Australia
Data: | Monthly average global horizontal irradiance (GHI), wind speed, and daily average temperature data at the location are listed below.
Monthly average solar global horizontal irradiance (GHI) data |  |  |  | Monthly average wind speed |  | Monthly daily average temperature
| Month | Daily irradiation |  | Month | Average speed (m^2/s) | Month | Daily temperature
|  | (kWh/m^2/day) |  |  |  |  | (°C)
| Jan | 0.5 |  | Jan | 10.85 | Jan | 5.69
| Feb | 1.19 |  | Feb | 10.41 | Feb | 5.42
| Mar | 2.29 |  | Mar | 9.63 | Mar | 6.06
| Apr | 3.98 |  | Apr | 8.02 | Apr | 7.49
| May | 5.41 |  | May | 7.18 | May | 9.81
| Jun | 5.42 |  | Jun | 6.68 | Jun | 11.89
| Jul | 4.92 |  | Jul | 6.67 | Jul | 13.59
| Aug | 4.14 |  | Aug | 6.96 | Aug | 13.77
| Sep | 2.86 |  | Sep | 8.17 | Sep | 12.49
| Oct | 1.51 |  | Oct | 9.25 | Oct | 10.39
| Nov | 0.66 |  | Nov | 9.98 | Nov | 8.1
| Dec | 0.31 |  | Dec | 10.17 | Dec | 6.38