## Figures 2-3
Hybrid renewable energy systems for sustainable power supply in remote location: techno-economic and environmental assessment
Dibyendu Roy*, Ruiqi Wang*, Sumit Roy, Andrew Smallbone, Anthony Paul Roskilly
Figure 2: Solar irradiance and clearness index at the study location |  |  | Figure 3: Daily average available biomass and average temperature at the location
Month | Global horizontal solar irradiance (kWh/m2/day) | Clearness index | Month | Available biomass (tonnes/day) | Temperature (°C)
Jan | 4.267 | 0.596 | Jan | 4.671 | 19.19
Feb | 4.803 | 0.585 | Feb | 4.671 | 23.39
Mar | 5.713 | 0.603 | Mar | 4.648 | 28.16
Apr | 6.121 | 0.584 | Apr | 4.562 | 30.53
May | 5.815 | 0.53 | May | 4.314 | 30.54
Jun | 4.888 | 0.44 | Jun | 4.402 | 29.33
July | 4.251 | 0.386 | July | 4.393 | 28.36
Aug | 4.567 | 0.43 | Aug | 4.442 | 28.09
Sep | 4.374 | 0.447 | Sep | 4.681 | 27.65
Oct | 4.895 | 0.572 | Oct | 4.511 | 26.3
Nov | 4.349 | 0.59 | Nov | 4.318 | 22.87
Dec | 4.125 | 0.606 | Dec | 4.301 | 19.37

## Cost results
Hybrid renewable energy systems for sustainable power supply in remote location: techno-economic and environmental assessment
Dibyendu Roy*, Ruiqi Wang*, Sumit Roy, Andrew Smallbone, Anthony Paul Roskilly
Combinations |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
Figure 6: NPC and LCOE of different system combinations | NPC (M$) |  | 6.81 | 7.05 | 9.94 | 8.28 | 8.68 | 13.8 | 10.8 | 13.3 | 11.7 | 13.9 | 17.08
| LCOE ($/kWh) |  | 0.319 | 0.33 | 0.466 | 0.388 | 0.407 | 0.646 | 0.504 | 0.622 | 0.547 | 0.653 | 0.8005
Figure 7: Capital costs of different system combinations | Capital cost ($) | DG | 13730.4 | 13730 | 13730.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | WT | 48245.93 | 0 | 147494.69 | 55750.85 | 0 | 373867.63 | 113799.12 | 0 | 166486.73 | 132484.84 | 0
|  | BAT | 79161.38 | 81519.14 | 23633.31 | 82038.96 | 97076.65 | 78920.03 | 114806.27 | 152567.59 | 19419.04 | 100362.66 | 109236.76
|  | PV | 97719.71 | 112033.27 | 0 | 96195.57 | 129576.64 | 0 | 298617.65 | 472283.13 | 175922.81 | 493866.64 | 795074.98
|  | CONV | 11478.7 | 9414 | 10912.98 | 11648.2 | 10749.38 | 18309.52 | 0 | 25300.7 | 12107.22 | 20080.48 | 25906.7
|  | BG | 0 | 0 | 0 | 116031.57 | 116031.57 | 116031.57 | 16054.59 | 0 | 116031.57 | 0 | 0
|  | ELEC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15470.88 | 15470.88 | 15470.88
|  | TK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 510.54 | 510.54 | 510.54
Figure 8: Replacement cost of different system combinations | Replacement cost ($) | DG | 3400.25 | 6600.77 | 30086.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | WT | 0 | 0 | 45639.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | BAT | 129044.51 | 132888 | 0 | 133735.38 | 158271.24 | 128651.08 | 187150.85 | 248707.26 | 52323.27 | 163605.68 | 178071.74
|  | PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | CONV | 4870.11 | 3994.11 | 4630.09 | 4942.03 | 4560.68 | 7768.25 | 6811.54 | 10734.43 | 5136.78 | 8519.62 | 10991.53
|  | BG | 0 | 0 | 0 | 0 | 12874.93 | 39983.55 | 0 | 0 | 39983.55 | 0 | 0
|  | ELEC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4922.92 | 4922.92 | 4922.92
|  | TK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 162.76 | 162.76 | 162.76
Figure 9: O&M cost of different system combinations | O&M cost ($) | DG | 32056.5 | 43984.5 | 153885.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | WT | 7875 | 0 | 24075 | 9100 | 0 | 61025 | 18575 | 0 | 27175 | 21625 | 0
|  | BAT | 8528 | 8782 | 2546 | 8838 | 10458 | 8502 | 12368 | 16436 | 2092 | 10812 | 11768
|  | PV | 20485.51 | 23486.14 | 0 | 20166 | 27163.85 | 0 | 62600.83 | 99007.26 | 36879.65 | 103531.93 | 166675.86
|  | CONV | 1483.91 | 1217 | 1410.78 | 1505.82 | 1389.63 | 2366.97 | 2075.46 | 3270.75 | 1565.16 | 2595.91 | 3349
|  | BG | 0 | 0 | 0 | 38600 | 43200 | 92150 | 0 | 0 | 92150 | 0 | 0
|  | ELEC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2000 | 2000 | 2000
|  | TK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 132 | 132 | 132
Figure 10: Fuel cost of different system combinations | Fuel cost ($) | DG | 70904.15 | 110690.63 | 315885.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | BG | 0 | 0 | 0 | 62890.99 | 71509.04 | 148240.37 | 0 | 0 | 146627.13 | 0 | 0
Figure 11: Salvage cost of different system combinations | Salvage cost ($) | DG | -1042.03 | -1968.27 | -1656.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | WT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3141.99 | 0 | 0
|  | BAT | 0 | 0 | -2422.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | CONV | -916.6 | -751.73 | -871.43 | -930.14 | -858.37 | -1462.06 | -1282 | -2020.33 | -966.79 | -1603.48 | -2068.72
|  | BG | 0 | 0 | 0 | -405.36 | -10655.24 | -8063.81 | 0 | 0 | -8063.81 | 0 | 0
|  | ELEC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -926.54 | -926.54 | -926.54
|  | TK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -91.73 | -91.73 | -91.73
Figure 12: Total cost of different system combinations | Total cost ($) | DG | 119049.27 | 173037.63 | 511932.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | WT | 56120.93 | 0 | 171569.69 | 64850.85 | 0 | 434892.63 | 132374.12 | 0 | 193661.73 | 154109.84 | 0
|  | BAT | 216733.89 | 223189.14 | 69396.49 | 224612.34 | 265805.89 | 216073.11 | 314325.12 | 417710.85 | 70692.32 | 274780.34 | 299076.5
|  | PV | 118205.22 | 135519.41 | 0 | 116361.57 | 156740.49 | 0 | 361218.48 | 571290.39 | 212802.46 | 597398.57 | 961750.84
|  | CONV | 16916.12 | 13873.38 | 16082.42 | 17165.91 | 15841.32 | 26982.68 | 23659.59 | 37285.55 | 17842.37 | 29592.53 | 38178.51
|  | BG | 0 | 0 | 0 | 217117.2 | 232960.3 | 388341.68 | 0 | 0 | 386728.44 | 0 | 0
|  | ELEC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21467.26 | 21467.26 | 21467.26
|  | TK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 713.57 | 713.57 | 713.57

## LCA results
Hybrid renewable energy systems for sustainable power supply in remote location: techno-economic and environmental assessment
Dibyendu Roy*, Ruiqi Wang*, Sumit Roy, Andrew Smallbone, Anthony Paul Roskilly
Impact category | Unit | Combinations
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
Global warming | kg CO2 eq | 423088.34 | 556484.94 | 982071.013 | 228409.878 | 257521.113 | 130880.726 | 375920.4594 | 473046.2388 | 300474.0351 | 476881.6963 | 593584.2561
Stratospheric ozone depletion | kg CFC11 eq | 0.23774 | 0.33464 | 0.71662 | 0.15918 | 0.17955 | 0.22517 | 0.14013 | 0.17511 | 0.28982 | 0.1782 | 0.21943
Ionizing radiation | kBq Co-60 eq | 14480.8974 | 15324.6478 | 4272.5387 | 14216.9694 | 16362.75 | 5408.468 | 25232.4257 | 32353.5968 | 16982.4606 | 31911.3139 | 40335.8553
Ozone formation, Human health | kg NOx eq | 3861.2569 | 5852.2789 | 14542.792 | 606.7823 | 685.3037 | 324.0883 | 1021.5225 | 1288.2002 | 769.8952 | 1295.847 | 1608.0705
Fine particulate matter formation | kg PM2.5 eq | 1315.0773 | 1812.7749 | 3704.8866 | 530.9781 | 595.9305 | 332.8392 | 866.9488 | 1087.8151 | 616.0562 | 1060.2839 | 1294.0954
Ozone formation, Terrestrial ecosystems | kg NOx eq | 3943.0754 | 5966.9071 | 14782.3351 | 636.0288 | 718.2417 | 336.217 | 1073.6399 | 1353.7586 | 809.2745 | 1363.7758 | 1693.2194
Terrestrial acidification | kg SO2 eq | 2514.8376 | 3380.2643 | 6432.1551 | 1237.022 | 1400.1332 | 889.8969 | 1906.693 | 2412.1709 | 1427.102 | 2295.2463 | 2798.1623
Freshwater eutrophication | kg P eq | 122.364 | 125.7641 | 36.8896 | 123.1851 | 138.5808 | 63.2713 | 211.6202 | 266.3611 | 144.7388 | 264.546 | 325.6272
Marine eutrophication | kg N eq | 14.3298 | 16.5949 | 20.8894 | 10.4184 | 11.194 | 5.67 | 18.4451 | 22.2792 | 13.9382 | 23.8771 | 28.7076
Terrestrial ecotoxicity | kg 1,4-DCB | 5249667.16 | 5494871.31 | 2097776.99 | 5026116.846 | 5659842.184 | 2152117.272 | 8967102.0993 | 11303967.2546 | 5914468.092 | 11237137.956 | 13982926.1571
Freshwater ecotoxicity | kg 1,4-DCB | 58685.0307 | 55124.7296 | 22925.7799 | 59454.4528 | 61584.676 | 46116.1337 | 99805.5661 | 116715.635 | 64168.5418 | 118581.8873 | 134220.6083
Marine ecotoxicity | kg 1,4-DCB | 77993.7105 | 74084.8877 | 30328.3381 | 78762.8983 | 82435.9664 | 59711.1681 | 132057.8366 | 155857.534 | 83576.7759 | 156556.4753 | 178402.5666
Human carcinogenic toxicity | kg 1,4-DCB | 44566.2184 | 38919.579 | 28608.2232 | 44018.2821 | 40610.7944 | 41046.5275 | 75454.5992 | 79740.2638 | 58830.4523 | 93504.0874 | 99454.3571
Human non-carcinogenic toxicity | kg 1,4-DCB | 1290239.87 | 1320320.805 | 407975.164 | 1312775.4232 | 1511827.0487 | 1029016.064 | 2016647.5441 | 2600384.5015 | 820058.9657 | 2115913.1335 | 2456119.9694
Land use | m2a crop eq | 57461.658 | 62110.5678 | 7509.8998 | 56471.113 | 66531.9402 | 6080.4843 | 108535.3315 | 141374.6994 | 79694.7642 | 145218.422 | 190794.9748
Mineral resource scarcity | kg Cu eq | 6445.9738 | 6334.3576 | 2520.9529 | 6533.3294 | 7175.8553 | 5619.374 | 10176.1455 | 12513.6606 | 4752.1371 | 10926.4432 | 12183.7494
Fossil resource scarcity | kg oil eq | 117085.647 | 156281.704 | 288488.9309 | 55442.9765 | 62546.7983 | 26597.6695 | 96327.3024 | 121348.334 | 67453.7766 | 121290.2433 | 150554.3217
Water consumption | m3 | 5763.0877 | 6178.1876 | 1088.0447 | 5596.6925 | 6520.1844 | 889.4469 | 10689.2995 | 13805.5606 | 7676.3355 | 14173.9163 | 18416.8027